MacTempas is constantly undergoing improvements and thus the manual is not necessarily up to date on the most recent features. At this moment there are several undocumented features and below is a short list of some of the most recent changes to the software.

1) 	Linked FFT:

If you do a linked FFT of an image with a selection, you get a Fourier transform of the selection.

If you then move the selection around, the Fourier transform is automatically updated.

If you do a Linked FFT of an image with no selection, any Mask that you apply to the Fourier transform is automatically reflected in the image. Removing the mask will restore the original image

2) 	Right-Button-Mouse-Click In Masks

The Masks are updated and quickly set, by right-clicking in a selected mask. Control-Click works as a right click if you have not set your mouse up to do right-button clicks.

3) 	1D Graph Window and Line Trace Window.

You can have different styles of drawing, line, filled, filled+line and different colors. This is quickly set by right-button-clicking in a 1D graph window or a line trace window

You can measure a distance in the 1D graph window the using the ruler tool and clicking and dragging in the window. You can have several rulers at one time. If the graph is associated with a line trace, the position of the active ruler shows on the line trace. Similarly a marker will show up on the line trace if you use the pointer tool and click and drag around in the graph.

You can quickly magnify and move a 1D graph around. If you use the Hand tool, the x and y limits change when you drag in the x or y axes.

If you drag in the main body of the graph with the hand tool, the whole graph is moved around. You can also use the magnifying glass. You can click in the graph to magnify or demagnify (Option-click) and you can also create a selection with the magnifying glass to zoom in on the area selected. To reset the graph, double-click either in the magnifying tool itself or the graph.

Peak Finding works on a 1D Graph

You can place a lattice on a 1D graph and do lattice fitting to peak positions.

4)  	Right-Mouse-Button-Click in Peaks

By right-button-clicking (Control click if no right button mouse set up) in a peak when the peaks are selected in an image, a pop-up menu will show up, allowing the peaks to be refined, displayed in a table or keep their pixel values. If there is a lattice defined, options to remove peaks at or away from lattice points are also available.

5) 	If you are displaying a complex image, you can quickly change what is displayed, modulus, phase, real, imaginary or modulus squared, by right-button-clicking in the image and select from the pop-up menu what you want to have displayed.

This also works if you have a complex image such as the exit wave displayed in the main window from a calculation.

6) 	Right clicking in a SAD pattern, Kinematical CBED pattern or a ring pattern will also quickly bring up the options for the pattern.

7) 	Contextual menus (right clicking or Control clicking) are used more exensively to control features of objects when they are selected. The advantage is that more features can easily be accessed and added, the disadvantage is that it is harder to know which menus are available without trying to right click objects.

8)	Double-clicking in an image in the main window will bring the image into its own window. This has been made accessible as well through a menu command under the Edit Menu. The menu command is “Place Object in own window”

9)	Peaks can be fitted as Gaussians with peak positions, baseline, height, sigma and chi-square fitting give. It is also possible to try to fit “unresolved double peaks” to overlapping Gaussians. When peaks are selected, a contextual menu is available by right clicking the peaks.

10)	Support for images to be shown in table (spread-sheet) form and line-plots has been added. Each row becomes a line profile and thus this view is suited for images of less than 10 rows high.  A new hierarchical menu (Image Display Type) has been added to the process menu.

- Option-clicking in a selected peak-list will remove the peak from the list. Thus any unwanted peak can quickly be removed.

- New Selection tools have been added. A new Oval (Elliptical) selection and a Polygon Selection tool is available when an image window is the front window. The polygon is closed by clicking on the first point in the polygon-list. The ellipse can also be rotated and stretched by using its control points.

- New menu-options have been added to the contextual menu for peaks. Peaks inside or outside of a selection can quickly be removed.

- A new menu option (Under File Menu) allows an image stack to be created from sequentially numbered images. The image stack can be cycled through its images by using the arrow keys. Right clicking in the image stack window brings up a contextual menu with several added options.

- When a peak list is selected on an image, peaks can be deleted and added. To delete a peak, hold down the Option key when clicking on a peak. To add a peak, hold down the Option and Shift Keys when clicking in the image. Clicking on a peak when the peaks are selected will show which peak is selected and display the values for the peak in the status window. Clicking on a selected peak will deselect it. If there is a table associated with the peak list, the row for the peak will be selected. Likewise clicking in the row label for a peak in the list will select the peak in the image.

- There is a new way to display the results from the STEM calculation. The images are shown in a separate window that allows control of the detector aperture. The images can be saved as an image stack. Double clicking in an image will display the current image in its own separate window. If memory space allows, the user has control over the detector aperture when the images are displayed such that the images can be viewed as a function of the aperture angles.

- Support for the scroll wheel or the track-pad has been added for zooming objects when they are selected or when viewing single object windows such as image windows or graph windows.